SAFUR 125 F 500 CDP

General Information

  Global Commercial Alias:		SAFUR 125 F 500

  Product ID:

  Type Designation:			SAFUR 125 F 500 CDP

  Catalog Description:		Braking resistor SAFUR125F500 CDP

Ordering

  Country of Origin:			Iran (IR) – made by CDP.co

  Invoice Description:		Braking resistor SAFUR125F500 CDP

  Made To Order:			Yes

  Minimum Order Quantity:		1 piece

  Selling Unit of Measure:		piece

  Stocked At (Warehouses):		CDP.co

Dimensions

  Height:				940 mm

 Length:				310 mm

  Depth:				330 mm

Technical Data

  Resistance:				4 Ohms

  Power:				48000 Watts

Test Report

  visual inspection:			Yes

  Insulation Tests:			Yes

  Ohm Chek:				Yes

Additional Information

  Accessory Group:			Braking option

  Accessory Type:			Braking system

  Product Main Type:		SAFUR 125 F 500 CDP

  Product Name:			Braking resistor